# ELISA实验报告

## 一、实验原理

酶联免疫吸附测定（Enzyme-Linked Immunosorbnent Assay，ELISA）是免疫学和分子生物学中广泛使用的实验室技术，由Eva Engvall和 Peter Perlmann 于1971年首次描述。该测定依赖于抗原-抗体相互作用的原理，并利用酶和比色检测来量化目标分子，主要用于检测和量化生物样品中特定蛋白质、肽、抗体或抗原的存在。ELISA测定通常应用于各个领域，包括临床诊断、药物研究和生命科学基础研究。

## 二、实验器材及试剂

### 实验器材

| 名称 | 厂家 | 型号 |
| --- | --- | --- |
| 电子天平 | SCALE | ELECTRonic |
| 组织研磨仪 | Servicebio | KZ-II |
| 台式高速冷冻离心机 | Haier | LX-165T2R |
| 纯水仪 | 青岛富勒姆科技 | FBZ2001-UP-P |
| 漩涡震荡器 | Servicebio | MX-F |
| 超低温冰箱 | 海尔 | DW-86L338J |
| 隔热式电热恒温培养箱 | 恒宇 | HGPF-50 |
| 全波长酶标仪 | 赛默飞 | Varioskan ALF |

### 主要实验耗材

| 耗材 | 厂家 | 货号 |
| --- | --- | --- |
| 1000μL移液器 | 大龙 | KE0037273 |
| 200μL移液器 | 大龙 | YE3K030591 |
| 50μL移液器 | 大龙 | DS35110 |
| 10μL移液器 | 大龙 | KE0012951 |
| 300μL多道移液器 | 大龙 | KA006318 |

## 三、实验方法

### 1. 样本准备

- 血清

- 全血样品于室温放置1小时或2-8℃过夜后于2-8℃，1000×g离心20分钟，取上清即可检测。上清可存放于-20℃，避免反复冻融。

- 血浆

- 抗凝剂推荐使用EDTA-Na2，样品采集后30分钟内于2-8℃，1000×g离心15分钟，取上清即可检测。-20℃存放，避免反复冻融。。

- 细胞上清

- 收集液体后于2-8℃，1000×g离心20分钟，除去杂质及细胞碎片，取上清检测。-20℃存放，避免反复冻融。

- 细胞裂解样本

- 贴壁细胞用冷的PBS轻轻清洗，然后用胰蛋白酶消化，1000×g离心5分钟后收集细胞；悬浮细胞可直接离心收集。收集的细胞用冷的PBS洗涤3次。每106个细胞中加入150-200 μL PBS重悬(推荐在PBS中加入蛋白酶抑制剂；若含量很低可减少PBS的体积)并通过反复冻融或超声使细胞破碎。将提取液于2-8℃，1500×g离心10分钟，取上清检测。-20℃存放，避免反复冻融。

- 组织裂解样本

- 用预冷的PBS (0.01M, pH=7.4)冲洗组织，去除残留血液，称重后将组织剪碎。将剪碎的组织与对应体积的PBS(一般按1:9的重量体积比，比如1 g的组织样品对应9 mL的PBS，具体体积可根据实验需要适当调整，并做好记录。推荐在PBS中加入蛋白酶抑制剂)加入玻璃匀浆器中，在冰上充分研磨。为了进一步裂解组织细胞，可以对匀浆液进行反复冻融或超声破碎。最后将匀浆液于2-8℃，5000×g离心5-10分钟，取上清检测。-20℃存放，避免反复冻融。

- 尿液

- 收集尿液后，1000x g离心20min，取上清，-20℃或者-80℃存放，避免反复冻融。

- 母乳

- 收集样本后，10000x g离心15min，取澄清部分，浑浊液再次离心取澄清，收集澄清部分，-20℃存放，避免反复冻融。

### 试剂准备

- 标准品

- 每次实验新溶解一瓶标准品。建议标准品和样本都进行复孔检测。

- 每瓶冻干品，按说明书推荐的稀释液加对应体积，做标记“sd1”，以此作为标准曲线的起始浓度。溶解后的冻干品需要在30min内用完。

- 在“sd2”“sd3”“sd4”“sd5”“sd6”“sd7”EP管中各加入0.5mL对应的样本稀释液，取0.5mL“sd1”加入“sd2”中进行梯度稀释。梯度稀释时需充分混匀。

- 检测抗体

- 检测抗体（100x）浓缩液：按稀释比例1：100稀释，稀释前根据预先计算好的每次实验所需的总量配置（100μL/孔），实际配置时应配置（110μL/孔）。如10μL检测抗体加990μL抗体稀释液的比例配置，轻轻混匀。

- HRP标记抗体/HRP标记链霉亲和素

- HRP标记抗体/HRP标记链霉亲和素（100x）浓缩液：按稀释比例1：100稀释，稀释前根据预先计算好的每次实验所需的总量配置（100μL/孔），实际配置时应配置（110μL/孔）。如10μLHRP标记抗体加990μL抗体稀释液的比例配置，轻轻混匀。

- 洗涤液

- 浓缩洗涤液（20x）使用前需平衡室温。（如果洗涤液（20x）有晶体析出，37℃加热至晶体全部溶解。）取30mL浓缩洗涤液（20x），加入570mL超纯水或去离子水，得到洗涤液（1x）

### 操作步骤

- 加样，分别设空白孔、标准孔、待测样品孔。空白孔加样品稀释液100μL，标准孔加标准品100μL或待测样品孔加100μL，注意不要有气泡，加样时将样品加于酶标板孔底部，尽量不触及孔壁。确保上样不间断，5-10min上完样本。

- 酶标板上覆膜，37℃孵育120min。

- 洗涤，揭开封板膜，弃液体，毛巾或者滤纸将板内残留液体拍出，用洗涤液（1x）洗涤板条4次，每孔350-400μL，最后一次洗涤后，确保板内无残留液体，避免毛巾或者滤纸纤维进入板内，板条也不能长时间放室温导致干透。

- 每孔加入100μL（1x）检测抗体，盖上封板膜，37℃孵育1h。重复步骤3

- 每孔加入100μL（1x）HRP标记抗体/HRP标记链霉亲和素，盖上封板膜，37℃孵育40min。重复步骤3

- 显色：每孔加入TMB显色液100μL，37℃避光显色15-20min（如果颜色过浅，可适当延长显色时间，不超过30min）。

- 终止：每孔加终止液100μL，此时蓝色变为黄色。终止液的加入顺序应与TMB显色液的加入顺序一致。

- 读数：以630nm为校准波长，用酶标仪在450nm波长测量各孔的光密度（OD值）。在加终止液后5min内进行读数。

### 4. 数据分析

- 每个标准品和样本的OD值需减去零孔的OD值，如设置复孔，则应取其平均值。以标准品的浓度为横坐标，OD值为纵坐标，使用ELISA Calc回归拟合计算程序进行四参数拟合。根据样品的OD值由标准曲线推算出相应的浓度，再乘以稀释倍数。

# ELISA Report

## Experimental principle

Enzym-linked Immunosorbnent Assay (ELISA) is a widely used laboratory technique in immunology and molecular biology, first described by Eva Engvall and Peter Perlmann in 1971. The assay relies on the principle of antigen-antibody interactions and utilizes enzyme and colorimetric assays to quantify target molecules, primarily for detecting and quantifying the presence of specific proteins, peptides, antibodies, or antigens in biological samples. ELISA assays are commonly used in various fields, including clinical diagnosis, drug research, and basic research in life sciences.

## Laboratory equipment and reagents

### Laboratory equipment

| Equipment | Manufacturers | Model |
| --- | --- | --- |
| Electronic balance | SCALE | ELECTRonic |
| Tissue Grinder | Servicebio | KZ-II |
| High speed refrigerated centrifuge | Haier | LX-165T2R |
| Laboratory pure water system | Zhiang Instrument (Shanghai) Co., Ltd | Clever-S |
| Vortex shaker | Servicebio | MX-F |
| Ultra-low temperature refrigerator | Haier | DW-86L338J |
| Thermal insulation electric temperature incubator | NanTong Hengyu Scientific instrument co., LTD | HGPF-50 |
| Full wavelength enzyme labeling instrument | MolecμLar Devices | Spectramax M2 |

### Laboratory consumables

| Consumables | Manufacturers | Catlog |
| --- | --- | --- |
| 0-1000μL Adjustable-Volume Pipettor | Dragon | KE0037273 |
| 0-200μL Adjustable-Volume Pipettor | Dragon | YE3K030591 |
| 0-50μL Adjustable-Volume Pipettor | Dragon | DS35110 |
| 0-10μL Adjustable-Volume Pipettor | Dragon | KE0012951 |
| 0-300μL Adjustable-Volume multichannel pipettor | Dragon | KA006318 |

## Experimental method

### Preservation of samples

- serum

- The whole blood samples were left at room temperature for 1 hour or 2-8℃ overnight before centrifugation for 20 minutes at 1000 g, removing the supernatant to be detected. The supernatant can be stored at-20℃ to avoid repeated freezing and thawing.

- blood plasma

- EDTA-NA 2 is recommended for anticoagulants, centrifugation at 2-8℃ for 15 minutes at 1000 g within 30 minutes after sample collection and detection with the supernatant.-20℃ storage, avoid repeated freezing and thawing.

- The cell supernatant

- After liquid collection, the samples was centrifuged at 2-8℃ for 20 minutes at 1000 g to remove impurities and cell debris and remove the supernatant for detection.-20℃ storage, avoid repeated freezing and thawing.

- Cell lysed samples

- Adherent cells were then gently washed with cold PBS, then digested with trypsin and centrifuged at 1000 g for 5 minutes; cells in suspension could be collected by direct centrifugation. The ted cells were washed three times with cold PBS. Resuspend 150-200 μL PBS per 106 cells (protease inhibitor to PBS recommended; reduce PBS volume if low) and crush cells by repeated freezing-thawing or sonication. The extract was centrifuged at 2 – 8℃ at 1500 g for 10 min and the supernatant was removed for detection.-20℃ storage, avoid repeated freezing and thawing.

- Tissue cleavage samples

- The tissue was washed with pre-cooled PBS (0.01M, pH=7.4) to remove the residual blood, weighed and then chopped the tissue. Cut the tissue to the corresponding volume of PBS (generally according to the volume ratio of 1:9 by weight, such as 1 g of tissue sample corresponding to 9 mL PBS, the specific volume can be adjusted according to the needs of the experiment, and recorded. Protease inhibitor in PBS) to the glass homogenizer and thoroughly ground on ice. For further lysis of histiological cells, the homogenate can be subjected to repeated freeze-thaw or sonication. Finally, the homogenate was centrifuged at 2 – 8℃ at 5000 g for 5 – 10 minutes and the supernatant was removed for detection.-20℃ storage, avoid repeated freezing and thawing.

- urine

- After urine collection, the sample was centrifuged at 1000 xg for 20min and the supernatant was removed and stored at-20℃ or-80℃ to avoid repeated freezing and thawing.

- breast milk

- After sample collection, the samples were centrifuged at 10000 xg for 15min, the clarified part was removed, the turbid fluid was centrifuged again for clarification, and the clarified part was collected and stored at-20℃ to avoid repeated freezing and thawing.

### Preservation of Reagent

- standard substance

- A new bottle of the standard was dissolved in each experiment. It is recommended for both standards and samples.

- For each lyophilized bottle, add the corresponding volume as recommended by the instructions and mark "sd 1" as the starting concentration of the standard curve. The dissolved lyophilized products should be used up within 30min.

- 0.5 mL of corresponding sample dilution was added to each of the "sd 2"  "sd 3"  "sd 4"  "sd 6"  "sd 7" EP tubes and 0.5 mL of "sd 1" was added to "sd 2" for gradient dilution. The gradient dilution should be fully mixed.

- Detection of antibodies

- Test antibody (100x) concentration: 1:100 dilution. Before dilution, the total amount (100 μ L / well), and the actual configuration shall be configured (110 μ L / well). Like 10 μ L detection antibody plus 990 μ L antibody dilution ratio configuration, gently mix well.

- The HRP-labeled antibody / HRP was labeled with streptavidin

- HRP-labeled antibody / HRP-labeled streptavidin (100x) concentrate: diluted 1:100 before dilution (100 μ L / well), and actual configuration (110 μ L / well). As the proportional configuration of 10 μL HRP labeled antibody plus 990 μ L antibody dilution, gently mix well.

- Washing solution

- Concentrated detergent (20x) shall be balanced at room temperature before use.(If the washing solution (20x) is crystals, heat 37℃ until all the crystals are dissolved.) Take 30 mL of concentrated washing solution (20x) and add 570 mL of ultrapure water or deionized water to obtain the washing solution (1x)

### Experimental procedure

- Sample addition: Set up blank hole, standard hole and sample hole to be tested respectively. Add 100 μ L of sample dilution in blank hole, 100 μ L of standard well or 100 μ L of sample hole to be tested, note no bubbles, add the sample to the bottom of the hole of the microplate when sampling, and try not to touch the hole wall. Ensure the sample is uninterrupted, 5-10min.

- 2. Microplate was coated with film and incubated at 37℃ for 120min.

- 3. Wash, open the sealing plate film, discard the liquid, towel or filter paper to pat the residual liquid in the board, wash the board with washing liquid (1x) 4 times, 350-400 μ L per well, after the last washing, ensure that there is no residual liquid in the board, avoid towel or filter paper fiber into the board, the board can not be put at room temperature for a long time to dry.

- 4. Add 100 μ L (1x) to each well, covered with the plate membrane, and incubated at 37℃ for 1h. Repeat step 3

- 5. 100 μ L (1x) HRP labeled antibody / HRP labeled streptavidin was added to each well, covered with the sealed plate membrane, and incubated at 37℃ for 40min. Repeat step 3

- 6. Color development: add 100 μ L of TMB color development solution to each well, 37℃ of light avoidance and color development for 15-20min (if the color is too light, the color development time can be extended appropriately, no more than 30min).

- 7. Termination: Add 100 μ L of termination solution to each well, when the blue becomes yellow. The addition order of the termination solution should be consistent with that of the TMB color development solution.

- 8. Reading: Measure the optical density (OD) of each hole at 450nm at 630nm with a microplate reader. Read reading was performed within 5min after adding the termination solution.

### Data analysis

The OD value of each standard and sample shall subtract the OD value of zero hole, and take the average value if set. With the concentration of the standard product as the horizontal coordinate and OD value as the vertical coordinate, ELISA Calc regression fitting calculation program was used for four-parameter fitting. The corresponding concentration was calculated from the standard curve based on the OD of the sample and multiplied by the dilution.