# HE染色实验报告

## 一、实验原理

HE染色：又称苏木素-伊红染色法，其中苏木素是Hematoxylin，简称H，伊红是Eosin，简称E，HE染色法是组织学、胚胎学、病理学教学与科研中最基本、使用最广泛的技术方法。这种方法对组织细胞的各种成分都可着色，经过HE染色，细胞核被苏木素染成蓝紫色，细胞质被伊红染色呈粉红色。苏木素是碱性染料，蓝紫色，可以使细胞核等着色。被苏木素着色的结构本身为酸性，具有嗜碱性(Basophilic)。伊红是酸性染料，粉红色。可以将大多数细胞的细胞质染成红色。被伊红着色的结构本身为碱性，具有嗜酸性(Acidophilic)。不易被苏木素和伊红着色的结构具有嗜中性(Neutrophilic)。

## 二、实验器材及试剂

### 实验器材

| 名称 | 厂家 | 仪器型号 |
| --- | --- | --- |
| 脱水机 | 武汉俊杰电子有限公司 | JT-12S |
| 生物组织自动包埋机 | 武汉俊杰电子有限公司 | JB-P5 |
| 石蜡包埋机（冷台） | 武汉俊杰电子有限公司 | JB-L5 |
| 组织摊片机 | 武汉俊杰电子有限公司 | JK-5 |
| 转轮式切片机 | 徕卡显微系统上海有限公司 | HistoCoreBIOCUT |
| 烤箱 | 天津市莱玻特瑞仪器设备有限公司 | GFL125 |
| 盖玻片 | 江苏汇达医疗器械有限公司 | 710510 |
| 载玻片 | 海门市神鹰实验仪器厂 | 188109 |
| 达科为封片机 | 深圳市达科为医疗科技有限公司 | CS500 |
| 达科为染色机 | 深圳市达科为医疗科技有限公司 | DP260s |
| 显微镜 | NIKON | ECLIPSE E100 |
| 江丰扫描仪 | 宁波江丰生物信息技术有限公司 | KF-PRO-120 |

### 主要实验试剂

| 试剂 | 厂家 | 货号 |
| --- | --- | --- |
| 无水乙醇 | 杭州宏达化工仪器有限公司 | SJ003614 |
| 二甲苯 | 国药集团化学试剂有限公司 | 10023418 |
| 苏木素染液 | 杭州浩克生物科技有限公司 | HK2053 |
| 盐酸酒精分化液 | 杭州浩克生物科技有限公司 | HK2054 |
| 伊红 | 深圳市达科为医疗科技有限公司 | HK2051 |
| 氨水返蓝液 | 杭州浩克生物科技有限公司 | HK2055 |
| 中性树脂胶 | 国药集团化学试剂有限公司 | 10004160 |

## 二、实验步骤

1. 石蜡切片脱蜡至水：依次将切片放入二甲苯Ⅰ 8 min—二甲苯Ⅱ 8 min—二甲苯Ⅲ８min—无水乙醇Ⅰ 5min—无水乙醇Ⅱ 5min—85%酒精5 min—75%酒精5 min，自来水洗2 min。

2. 苏木素染色：苏木素染色6 min，盐酸酒精分化2 s，水洗；氨水溶液返蓝15-30 s，水洗；

3. 伊红染色：切片入95%的酒精脱水 1min，入伊红染液中染色10-30ｓ。

4. 脱水封片：切片依次放入无水乙醇I 30 s—无水乙醇II 2.5 min—无水乙醇Ⅲ2.5 min —二甲苯Ⅰ 2.5 min—二甲苯Ⅱ 2.5 min透明，中性树胶封片。

5. 显微镜镜检，图像采集分析。

## 三、结果判读：

细胞核呈蓝色，细胞质，肌纤维，胶原纤维和红细胞呈不同程度的红色。钙盐和细菌可呈蓝色或紫蓝色。

## 四、注意事项：

1．注意切片脱蜡是否彻底；

2．注意细胞核的分化程度，伊红的染色程度；

3. 注意苏木素和伊红的效价，及时更换染液。

# HE staining experiment report

## Laboratory equipment and reagents

### 1.1 Laboratory equipment

| Equipment | Manufacturers | Model |
| --- | --- | --- |
| Dehydrator | Hubei Benor Medical Technology Co., Ltd | JT-12S |
| Automatic biological tissue embedding machine | Hubei Benor Medical Technology Co., Ltd | JB-L5 |
| Paraffin embedding machine（Cold Plate ） | Hubei Benor Medical Technology Co., Ltd | JB-P5 |
| Tissue spreader | KEDEE | 51A011 |
| Rotary microtome | Shanghai Leica Instrument Co., Ltd | HistoCoreBIOCUT |
| Oven | Shanghai Yuejin Medical Equipment Co., LTD | HGPF-50 |
| Adhesive slide and Cover glass | Jiangsu Huida medical Equipment Co., LTD | 710510 |
| Dyeing machine | DAKEWE | DP260s |
| Upright optical microscope | NIKON | ECLIPSE E100 |

### 1.2 Laboratory reagents

| Reagents | Manufacturers | Catlog |
| --- | --- | --- |
| Anhydrous ethanol | Hangzhou Hongda Chemical Instrument Co., LTD | SJ003614 |
| Xylene | Sinopharm Chemical Reagent co., Ltd. | 10023418 |
| Hematoxylin dye | Hangzhou Haoke Biotechnology Co., Ltd | HK2053 |
| Acid Alcohol Differentiation Solution | Hangzhou Haoke Biotechnology Co., Ltd | HK2054 |
| Eosin | Dakewe | HK2051 |
| Ammonia Solution | Hangzhou Haoke Biotechnology Co., Ltd | HK2055 |
| Neutral gum | Sinopharm Chemical Reagent co., Ltd. | 10004160 |

## Dyeing steps

2.1 Dewaxing and hydration: Put the sections into xylene I 8 min - xylene II 8 min - xylene III 8 min - anhydrous ethanol Ⅰ 5 min - anhydrous ethanol Ⅱ 5min - 85% Ethyl alcohol for 5 min - 75% Ethyl alcohol for 5 min, wash with tap water.

2.2 Hematoxylin staining: Put sections into Hematoxylin solution for 6 min. Then treat the section with acid alcohol differentiation solution for 2 s, rinse with tap water. Treat the section with Hematoxylin Bluing solution for 15-30 s, rinse with tap water.

2.3 Eosin staining: Place the sections in 95% ethanol for 1 min, eosin dye for 10-30s.

2.4 Dehydration and sealing: 30 s - .5  - .5   xylene 2.5 minxylene.5 2.5 Microscope inspection, image acquisition and analysis.

## Interpretation of results:

The nucleus is blue and the cytoplasm is red.

## Precautions:

- 4.1 Pay attention to whether the section is thoroughly dewaxed;

4.2 Pay attention to the differentiation degree of nucleus;

4.3 Pay attention to the potency of hematoxylin and eosin, and change the dyeing solution in time.